CS19.6 Commercial Building First Fit-out and Minor Internal Alterations Checksheet.

IMPORTANT INFORMATION FOR THE APPLICANT

- This checklist is designed to be used for a first fit out of a new building (i.e. tenancy fit out) or a minor internal alteration to an existing commercial building. For more significant alterations or additions please complete the CS19.5 Commercial checksheet. - When completing this form please ensure that all sections titled “Applicant to Complete,” (orange sections) are filled out in full, with the relevant plan or specification page number(s) identified. - Failure to provide complete documentation may result in the Building Consent Application being delayed due to RFI requests or refused outright. - Once completed this checklist should be uploaded along with all other required Building Consent Application files using the QLDC website File Transfer Portal (Sharefile).

| Council Use Only |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Consent Number | Click here to enter text. |  |  |  |  |  |  |  |  |  |
| Processing start date | Click here to enter text. |  |  |  |  |  |  |  |  |  |
| Building Category | ☐ Com1 |  |  | ☐ Com2 |  |  |  | ☐ Com3 |  |  |
| Processor’s name | Click here to enter text. |  |  |  |  |  |  |  |  |  |
| # Property Information |  |  |  |  |  |  |  |  |  |  |
| Applicant to Complete |  |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |
| Description of work: | Click here to enter text. |  |  |  |  |  |  |  |  |  |
| Classified Use(s): Clause A1 - Classified Uses | Commercial |  |  |  |  |  |  |  |  |  |
| Uses of Buildings: Building Regulations 2005 | ☐ CS | ☐CM |  |  | ☐ CL |  | ☐ WL |  |  | ☐ WM |
| Risk Group: | ☐ SM |  | ☐ CA |  |  | ☐ WB |  |  | ☐ WS |  |
| Importance Level(s): Clause A3 - Building Importance Levels | Choose an item. |  |  |  |  |  |  |  |  |  |

| # Form 2: Application for Project Information Memorandum and/or Building Consent | # Council Use Only |
| --- | --- |

| Applicant to Complete |  |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| --- | --- | --- | --- | --- | --- | --- |
| ☐ |  | All sections of Form 2 completed including form signed (Section 2), accurate description of building work (Section 3), Contact details (Sections 4, 5 & 11), Restricted Building Work (RBW) details (Section 6), Means of compliance (Section 8), Compliance Schedule (Section 9) | ☐ | ☐ | ☐ | Click here to enter text. |
| ☐ |  | Building Consent Fee Calculator provided (completed by the applicant) and accurate estimate for value of work | ☐ | ☐ | ☐ | Click here to enter text. |
| ☐ |  | Proof of ownership provided (Certificate of Title (CT – less than 3 months old), Rates Account, Sale and Purchase Agreement or Lease) |  |  |  |  |
| ☐ | ☐ | Letter or email from the owner appointing agent, where an agent has completed the application |  |  |  |  |

| ☐ N/A Building Act Section 112 - Alterations to an Existing Building(s) (Not applicable for first fit outs) |  |  |  |
| --- | --- | --- | --- |
| Building Score (complete table below) and provide applicable level of assessment for the whole building MBIE Building Score Methodology to establish level of information to be provided to review relevant Code Clause requirements. Note: Unit titles or alterations to tenancies within an existing building, the whole building must be assessed. This section does not apply to first fit outs as this is new work and will assessed under Section 17 |  |  |  |
| Building Score |  |  |  |
| Type | Key Factors | Applicant to Complete |  |
| Likelihood of existing building complying | Building Age | Points | Score (select as applicable) |
|  | Approved from 1 June 2001 onwards | 0 | ☐ |
|  | Approved between 1 January 1993 and 31 May 2001 | 1 | ☐ |
|  | Approved on or before 31 December 1992 | 3 | ☐ |
|  | Information held on the building by the BCA or TA (score one of these only and choose the most comprehensive assessment) |  |  |
|  | For buildings approved from 1 June 2001: no consents made | 0 | ☐ |
|  | Full building assessment on file dated 1 June 2001 or later | 2 | ☐ |
|  | Full building assessment on file dated on or before 31 May 2001 | 4 | ☐ |
|  | One or more partial building assessments on file | 6 | ☐ |
|  | No assessment on file for building additions or alterations | 8 | ☐ |
|  | Unable to determine history of building | 8 | ☐ |
| Extent of proposed work | Extent of the proposed work |  |  |
|  | Minor | 0 | ☐ |
|  | Moderate | 3 | ☐ |
|  | Significant | 6 | ☐ |
| Potential consequences of not complying | Building Importance Level |  |  |
|  | Level 1 | 0 | ☐ |
|  | Level 2 | 4 | ☐ |
|  | Level 3 | 8 | ☐ |
|  | Level 4 and Level 5 | 12 | ☐ |
|  | Additional points for building level 1, 2 or 3 with sleeping facilities | 4 | ☐ |
| Total Score |  |  | ☐ |
| # Assessments to be provided in relation to Building Score (select one) |  |  |  |
| ☐ | 1-11 – List of current features plus Statement of Change (in relation to Means of Escape from fire and Access and Facilities for persons with disabilities) |  |  |
| ☐ | 12-19 – Gap Assessment (for both Means of Escape from fire and Access and facilities for persons with disabilities) |  |  |
| ☐ | 20+ - Full Assessment (Fire Report and Accessibility Report) |  |  |
| Further guidance on levels of assessment can be found on the MBIE website: https://www.building.govt.nz/building-code-compliance/c-protection-from-fire/c-clauses-c1-c6/means-of-escape/our-recommended-approach/ |  |  |  |

| # B Stability |  | # Council Use Only |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ N/A B1 Structure |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| Provide information to demonstrate compliance with Code Clause performance requirements | Internal walls or openings | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Ceiling systems | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Alterations or additions to internal structural elements | ☐ | ☐ | ☐ | Click here to enter text. |
| ☐ N/A B2 Durability |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Steel, timber coatings or treatment | ☐ | ☐ | ☐ | Click here to enter text. |

| # C Protection from Fire |  | # Council Use Only |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ N/A C1-6 Protection from Fire |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| Provide information to demonstrate compliance with Code Clause performance requirements | Part 1: General | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Part 2: Firecell, fire safety systems and fire resistance ratings | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Part 3: Means of Escape | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Part 4: Control of Internal Fire & Smoke spread | ☐ | ☐ | ☐ | Click here to enter text. |

| # D Access |  | # Council Use Only |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ N/A D1 Access Routes |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Provide information to demonstrate compliance with Code Clause performance requirements | Accessible route(s): principle entrance, location, slope, height clearances, obstructions, structural stability, barriers and lighting, slip resistance, width and protection from falling | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Ramps: slope, slip resistance, width, landings, kerb ramps, handrails | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Stairways: Pitch, risers and treads, width, landings, curved and spiral stairways, stair winders and visibility of stair treads, handrails | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Door and Openings | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Carparking: carparking provided and route from carpark to building assessed | ☐ | ☐ | ☐ | Click here to enter text. |

| # E Moisture |  | # Council Use Only |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ N/A E2 External Moisture |  | Yes | N/A | RFI | Reasons for Decisions / Comments |
| Provide information to demonstrate compliance with Code Clause performance requirements | Roof or wall penetrations in relation to internal building work | ☐ | ☐ | ☐ | Click here to enter text. |
| ☐ N/A E3 Internal Moisture |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Internal linings: floors, walls | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Bathroom details: showers, urinals, basins | ☐ | ☐ | ☐ | Click here to enter text. |

| # F Safety of Users |  | # Council Use Only |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # ☐ N/A F2 Hazardous Building Materials |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| # Provide information to demonstrate compliance with Code Clause performance requirements | # Manifestation details provided, glazed partitions | ☐ | ☐ | ☐ | Click here to enter text. |
| # ☐ N/A F5 Construction and Demolition Hazards |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| # Provide information to demonstrate compliance with Code Clause performance requirements | # Restricting access: work site barriers, site fences or hoardings provided as applicable | ☐ | ☐ | ☐ | Click here to enter text. |
| ☐ N/A F6 Visibility in Escape Routes |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | PS1 provided in relation to emergency lighting design | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Emergency lighting plan provided: location, illuminance, duration | ☐ | ☐ | ☐ | Click here to enter text. |
| # ☐ N/A F7 Warning Systems |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Manual and automatic fire alarm systems – specifications (Type 2, 3, 4, 5, 6, 7) | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Location shown on plan (heat/smoke detectors, manual call points, fire alarm panel, hold open device for doors, smoke extract) | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Is direct connection between the alarm system and FENZ needed and specified? | ☐ | ☐ | ☐ | Click here to enter text. |
| ☐ N/A F8 Signs |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Exit and Fire Signage: Exit signs, call points, fire and smoke doors. Visible at all times - illumination (type) | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Accessibility Signage: for accessible route and facilities (car parks, entrance, route, services) | ☐ | ☐ | ☐ | Click here to enter text. |

| # G Services and Facilities |  | # Council Use Only |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # ☐ N/A G1 Personal Hygiene |  | Yes | N/A | RFI |  | Reasons for Decisions/ Comments |
| Provide information to demonstrate compliance with Code Clause performance requirements | Number of WC pans, basins, urinals, baths and showers (single sex/unisex); in convenient locations; impervious walls around bowls Refer to fire report occupancy number of occupancy number in relation to facilities required or Table 4. | ☐ | ☐ | ☐ |  | Click here to enter text. |
|  | Location of sanitary fixtures: space, access to food prep area work, basin communal | ☐ | ☐ | ☐ |  | Click here to enter text. |
|  | Accessible facilities: access, number, layout | ☐ | ☐ | ☐ |  | Click here to enter text. |
|  | Privacy: line of sight, cubicles, lobbies | ☐ | ☐ | ☐ |  | Click here to enter text. |
| # ☐ N/A G4 Ventilation |  |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | SED: PS1 provided | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Natural ventilation: accommodation units and carparks (apartments, hotels, motels) | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Combined natural ventilation and mechanical ventilation (accommodation units) | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Mechanical ventilation: outdoor air supply, air-handling systems, extract ventilation etc. car park ventilation | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Ventilation of spaces containing gas fuel appliances: natural/mechanical ventilation, flue construction | ☐ | ☐ | ☐ | Click here to enter text. |  |
| # ☐ N/A G5 Interior Environment |  |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Accessible reception counter/desk details provided | ☐ | ☐ | ☐ |  | Click here to enter text. |
| ☐ N/A G8, G9, G10 & G11 Energy works |  |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Lighting plan provided in relation to exitways and escape routes | ☐ | ☐ | ☐ |  | Click here to enter text. |
|  | Details provided for accessible light switches and plug socket outlets (where Section 118 applies) | ☐ | ☐ | ☐ |  | Click here to enter text. |
|  | Energy works certificate to be provided where electrical or gas work taking place | ☐ | ☐ | ☐ |  | Click here to enter text. |
| # ☐ N/A G12/G13 Water Supply & Foul Water |  |  |  |  |  |  |
| Provide information to demonstrate compliance with Code Clause performance requirements | Water supply | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Hot water system (type, specifications, schematic, gas califont specifications, gas bottle location) | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Grease separation provisions | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Fixture Information (diameters, gradients, venting etc.) | ☐ | ☐ | ☐ | Click here to enter text. |  |
|  | Discharge pipe (diameter, gradients, chase details etc.) | ☐ | ☐ | ☐ | Click here to enter text. |  |

| # Compliance Schedule |  | # Council Use Only |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ N/A Specified Systems |  | Yes | N/A | RFI | Reasons for Decisions/ Comments |
| Provide information to demonstrate compliance with Code Clause performance requirements | Form 27 (Application for Compliance Schedule) or Form 11 (Application for Amendment to Compliance Schedule) provided and complete | ☐ | ☐ | ☐ | Click here to enter text. |
|  | Specified Systems forms complete up to and including the Performance/Installation information and reviewed | ☐ | ☐ | ☐ | Click here to enter text. |

| # COUNCIL USE ONLY- FINAL SIGN OFF |  |  |  |
| --- | --- | --- | --- |
| APRROVED | ☐ I am satisfied ‘on reasonable grounds’ that the Building Consent Documentation to be stamped ‘Approved’ demonstrates compliance with the Building Code, and the Building Consent/Amendment is approved and ready for granting, as per Section 49 of the Building Act 2004 |  |  |
|  | Processing Officer Sign-off: | Date: Click here to enter text. |  |
| REFUSED | ☐ I am NOT satisfied that the Building Consent Application Documentation received demonstrates compliance with the Building Code, and the Building Consent/Amendment is therefore recommended for Refusal under Section 50 of the Building Act 2004 |  |  |
|  | Processing Officer Sign-off: | Date: Click here to enter text. |  |
| Supervision Sign Off (if required) |  |  |  |
| Supervisor Sign-off: |  | Date: Click here to enter text. |  |
| Comments Click here to enter text. |  |  |  |